Picture Archive and Communication System

Administrators Guide

TABLE OF CONTENTS

1 Introduction	3

1.a Overview	3

1.b Features	3

2 MEDSYS PACS FLOW	4

3 Program Operation	5

3.a How to Install MEDSYS PACS	5

3.b How to Update Patient Name	12

3.c How to Update Patient ID	13

3.d How to Create/Add New Patient	14

3.e How to Update Study	15

3.f How to Delete a Study	17

# 1 Introduction

## 1.a Overview

Visual MEDSYS PACS is developed in the Philippines.  It speeds up processing of results and avoids lost plates.  It digitally stores images for years and connects to virtually all modalities.

## Objectives

| Modernize your Radiology Department | Connects to virtually all modalities. |
| --- | --- |
| Digitally store images for years | CT / MRI / Ultrasound / Digital X-Rays / Nuclear / etc |
| Speed up processing of results & avoid lost plates | Affordable and customizable |
| Save on film costs | Save Interpretation/impression |
| Speed up processing of results | Send Result/Interpretation through e-mail |

## 1.b Features

- Capture and store Video/Images/Audio from machines and store on the PACS Server

- Connects to machines with a video signal (e.g. Endoscopy, Laparoscopy, C-Arm, etc.)

- Convert images to DICOM format

- Print images to paper or film

- (DICOM) compatible

- Allows storage from DICOM-compliant modalities. e.g.: X-Ray (CR/DR), CT, Ultrasound, MRI, etc.

- View images over Web.

- Modality Worklist – the Machine can access pending requests (no need to enter patient demographic data on the machine interface) – now read directly from the

HIS, reduces entry errors and saves time

- Print past images transactions to DICOM film printer

- Send Email and SMS (w/ MEDSMS feature) of Image and Interpretation. Soon:

Send images to mobile devices via MMS

- Burn images to CD (w/ free mini DICOM Viewer)

- View results in stations

# 2 MEDSYS PACS FLOW

# 3 Program Operation

## 3.a How to Install MEDSYS PACS

Step 1. Access 192.168.20.100 (PACS server) in run command and copy the content of the folder "dlls" to local disk (create a new folder “MEDSYS PACS” and paste it here)

Note: The system may require user to enter PACS server’s administrator login account during the first time of access.

PACS Server PACS Account

Username: pacs

Password: pacs

Step 2. Open dlls folder copied on your local disk under the newly created “MEDSYS PACS” folder

Run Setup7.bat (right click and Run as Administrator).

Step 3. Access \\192.168.20.100 in run command. Open the folder "client" and run setup7.bat (right click and Run as Administrator).

Step 4. Look for MEDSYS PACS Launcher and make a shortcut on desktop.

Step 5. Go to your desktop and open MEDSYS PACS Launcher icon.

Step 6. Register MEDSYS Software.

Registration key: 5BC66DDB6EC574F77DF324 53110171F 267B731B069DC42E55ED936

(registration key.txt in CLIENT folder)

KCCI will provide this.

Click Register button to register the key. A small window will appear confirming that it was registered successfully.

Step 7. Setup up connectivity.

Hit (space)MEDSYS on keyboard under the Password box. Fill in the Server Login.

Server: 192.168.20.100

Database: PASSWORD

User: sa

Password: pacs

Click the Test Connection button to test the connection.

Connection Succeeded window will appear if connected successfully. Otherwise, Error Accessing Server will appear if not connected successfully. Double-check the entries on Server Login to see if the entered data are correct.

Step 8. Try to login using your user account. The installation is successful once you have logged in successfully.

Step 9. Set the dicom server where the images will be accessed.

- Go to Options (minimize the Patient List window).

- Go to Admin tab and enter the ADMIN PASSWORD (555).

- Enter Dicom Server (PACS server) on the box. Click OK to save changes.

Installation Notes

1. Administrator account should be enabled in order for DLL and OCX files to be registered.

To do this, right-click on My Computer and select Manage.

Look for Local Users and Groups.

Go to Users and search for Administrator account. Right-click it and go to Properties.

Uncheck Account is disabled button and set Password never expires.

Click OK to save changes.

2. Exe files should be enabled in order for MEDSYS PACS Launcher to execute automatically once clicked.

To do this, go to run command and type gpedit.msc to go to Group Policy Object Editor.

Under User Configuration, go to Administrative Templates -> Windows Components ->

Attachment Manager.

Look for the setting Inclusion list for low/medium file types.

Right-click it and go to Properties.

Select Enabled and type .exe on the Specify low risk extension files.

Click OK to save changes.

PACS DICOM SERVER

## 3.b How to Update Patient Name

This option will be used when there are misspelled lastname, firstname, or middlename of patient.

a. Enter Patient ID on the Patient ID box then click “Enter”.

b. Fill up the correct Lastname, Firstname, Middlename.

c. Click on Update Patient button to save changes.

## 3.c How to Update Patient ID

This option is used when correcting Patient ID of patient.

a. Enter Patient ID on the OLD ID box.

b. Put the New ID on the New ID box.

c. Click Change button to save changes.

## 3.d How to Create/Add New Patient

This is option is used when adding a non-existing patient.

a. Supply fields on the box (Last, First, Middle, New ID, Bdate, Sex).

b. Click New Patient button to add patient.

## 3.e How to Update Study

This option is used when updating a study. Instances like a particular study was entered on a wrong Name(First Name, Middle Name, Last Name).

- Double click on the desired patient you want to update.

- Click on Update Image Details, then fill up the correct Patient Details the click Update.

## 3.f How to Delete a Study

This option is used when deleting a particular study.

b. Click Delete Study button to delete it.

NOTE: Be careful when deleting a study. Doing so will erase an entire study and can’t be UNDONE.